**TOWN OF LEBANON**

**INVITATION TO BID**

**Tyler Field Well**

The Town of Lebanon is soliciting bids from qualified contractors for the drilling of a new well at Tyler Recreational Field Bascom Rd., Lebanon, CT. Bids will be received at the Office of the First Selectman, Town of Lebanon, 579 Exeter Road, Lebanon, CT 06249 until 3:00 pm on March 2, 2020.Bids shall be submitted in sealed envelopes labeled “Tyler Field Well Bid” and the contractor’s name and address clearly written on it.All questions shall be directed to Jason Nowosad, Facilities Director in writing at Town Hall, 579 Exeter Road, Lebanon, CT 06249 or via email ([jnowosad@lebanonct.gov](mailto:jnowosad@lebanonct.gov)) or phone 860.642.6028. The Board of Selectmen reserves the right to reject any and all bids. The Town of Lebanon is an Equal Opportunity Employer.

**General Description**

The project shall consist of drilling a new well at Lebanon's Tyler Field, Bascom Road, Lebanon, CT 06249. Well location shall be approximately 75’ from the concession stand in between the two main fields.

**Scope of Work**

All bids shall include all costs associated with labor, material, equipment, etc. to complete all work described herein with no exceptions.

1. Drilling

* 1. Provide drilling to 400’ depth with 20’ casing
  2. Provide a cost/ft for additional drilling depth and a cost/ft for extra casing

2. Pump and Piping

2.1. Provide 1-1/4” well piping and wiring including approximately 90’ of horizontal piping

2.2. Provide a 3/4HP submersible well pump, please provide tech specs. with your bid

2.3. The Town of Lebanon will provide trenching/ backfill/ and final electric connections

2.4. Provide a 44 gal. min. pressure tank.

**Bid Requirements**

All bidders shall provide proof of liability insurance and worker's compensation insurance in the form of an insurance certificate. The winning bidder shall provide an Insurance certificate naming Town of Lebanon as additional insured.

Bids shall include all costs associated with the work herein described. Bid shall be Lump Sum as described above with separate lines for overages as described above. Any modifications suggested may be submitted as an add alternate.

Bidder shall complete all work associated with the contract within 45 days of bid award.